Bulk and Retail Petroleum

# Module 10

# Standard Test Procedures

January 2021

Uncontrolled copy for training purposes only

| STPs for Bulk & Retail Petroleum |  |
| --- | --- |
| STP 1 | Return to zero test |
| STP 2 | Interlock test |
| STP 3 | Segment test |
| STP 4 | Slow flow test |
| STP 5 | Fast flow test |
| STP 7 | Repeatability test |
| STP 9 | Agreement between registrations test |
| STP 10 | Computed price value test |
| STP 11 | Check valve, anti-drain valve, spin-up and creep tests |
| STP 12 | Hose expansion test |
| STP 15 | Delivery Cross-over Test |
| STP 18 | Automatic temperature compensator (ATC) test |
| STP 19 | Automatic temperature sensor failure test |
| STP 20 | Electromagnetic interference and ration frequency interference susceptibility test |
| STP 21 | Flow Rate Determination |
| STP 22 | Prover Wetting and Drainage |
| STP 23 | Prover Shell Correction |
| STP 24 | Masking and Suppression of volumetric displays |
| Additional STPs for Bulk Petroleum |  |
| STP 6 | Intermediate flow test |
| STP 8 | Product depletion test |
| STP 37 | Truck mounted gravity supplied meters and gravity pump supplied meters |
| Additional STPs for Retail Petroleum |  |
| STP 14 | Backlash Test |
| STP 16 | Product Blend Test (blending dispenser) |
| STP 17 | Prepay Test (motor fuel dispenser) |

All STPs ca be found in the Field Inspection Manual—Volumetric Measuring Devices on the Measurement Canada website